Partial Skeletal Muscle Grafts for Prosthetic Control

Shoshana L. Woo, MD; Melanie G. Urbanchek, PhD; Xin Zheng, BS; Michelle K. Leach, PhD; Jana D. Moon, BS; Paul S. Cederna, MD; Nicholas B. Langhals, PhD

Abstract

Background: Nonvascularized partial skeletal muscle grafts are notorious for their limited force-generating capacity and tendency to degenerate in the absence of reinnervation [1-3]. Accompanied by peripheral nerve implantation, however, partial muscle grafts can survive and transmit detectable electromyographic (EMG) signals capable of prosthetic control [4]. Our study investigated partial muscle graft survival in the construction of regenerative peripheral nerve interfaces (RPNIs) and further characterized their electrophysiological properties across various muscle donor sites.

Methods: Twenty F344 rats were assigned to 1 of 5 groups based on muscle graft type used for RPNI construction: 1) control-whole extensor digitorum longus; 2) partial biceps femoris; 3) partial rectus femoris; 4) partial lateral gastrocnemius; and 5) partial vastus medialis. Each graft of approximately 140-mg was transferred to the femur, wrapped in small intestinal submucosa for tissue isolation, and implanted with the transected common peroneal nerve. After 4 months of RPNI recovery, in situ EMG (Figure 1) and force testing were performed.

[INSERT FIGURE 1]

Results: Twelve of 16 partial muscle RPNIs demonstrated detectable EMG function at 4 months. Significant differences between control RPNIs (n=4) and functional partial muscle RPNIs (n=12) included average mass (118±42 mg vs. 66±25 mg), EMG peak-to-peak amplitude (6.7±2.3 mV vs. 1.5±1.6 mV), and maximum tetanic force (729±666 mN vs. 175±154 mN). Outcomes by group for all RPNIs (n=20) are depicted in Figure 2. RPNI mass was the overriding significant predictor of EMG peak-to-peak amplitude (p<0.001). After adjusting for RPNI mass, donor muscle type showed no correlation with partial muscle EMG signal strength.

[INSERT FIGURE 2]

Conclusions: Partial muscle graft RPNIs transmit detectable EMG signals with a 75% success rate at 4 months. This proof of concept feasibility underscores the potential to develop and refine partial muscle graft-based interfaces to harness peripheral nerve signals for high-fidelity prosthetic control in amputees. While signal size remains favorable (i.e. 10-50 times larger than signals recorded directly from peripheral nerves) [5], further studies are warranted for optimization of partial muscle graft regeneration and methods of signal acquisition.

References

1.	Boyce, R.G., Nuss, D.W. & Kluka, E.A. The use of autogenous fat, fascia, and nonvascularized muscle grafts in the head and neck. Otolaryngologic clinics of North America 27, 39-68 (1994).

2.	Mong, F.F. Histological and histochemical studies on the nervous influence on minced muscle regeneration of triceps surae of the rat. Journal of morphology 151, 451-462 (1977).

3.	Carlson, B.M. & Gutmann, E. Contractile and histochemical properties of sliced muscle grafts regenerating in normal and denervated rat limbs. Experimental neurology 50, 319-329 (1976).

4.	Woo SL, U.M., Cederna PS, Langhals NB. Revisiting Nonvascularized Partial Muscle Grafts: A Novel Use for Prosthetic Control. Plast Reconstr Surg (Accepted 03 February 2014. In press.).

5.	Clark, G.A., Ledbetter, N.M., Warren, D.J. & Harrison, R.R. Recording sensory and motor information from peripheral nerves with Utah Slanted Electrode Arrays. Conference proceedings : ... Annual International Conference of the IEEE Engineering in Medicine and Biology Society. IEEE Engineering in Medicine and Biology Society. Conference 2011, 4641-4644 (2011).

Disclosure/Financial Support

Supported by DARPA (N66001-11-C-4190), the Plastic Surgery Foundation, and the Frederick A. Coller Surgical Society.

None of the authors currently has a financial interest in any of the products, devices, or drugs mentioned in this manuscript.