Endotine® Midface for Soft Tissue Resuspension in Zygoma Fracture

: an Eight-Year Review

Purpose

Subperiosteal exposure of the fractured zygomatic bone is essential in the process of accurate reduction1,2. However, extensive degloving of the facial skeleton may cause soft tissue ptosis. Only within the past 20 years have surgeons become interested in the importance of soft tissue redraping after reduction3-5. The authors review their eight-year experience applying Endotine® midface, a bioabsorbable suspension device, in resuspension of the cheek soft tissue of zygomatic fracture patients.

Methods and materials

All patients who received open reduction and internal fixation for their zygomatic fracture between January, 2006 to December, 2013 at our center were included in this study. The Endotine® midface device(Coapt Systems, Palo Alto, CA, USA) is a bioabsorbable polylactide polymer that consists of a platform with five tines, each 4.5mm in length, and a long, slender leash with holes for screw fixation. Patients were divided into control group and Endotine group. The difference of operation technique in Endotine group was soft tissue resuspension using Endotine midface. The surgical results were evaluated with patients’ satisfaction score, surgeon evaluation score from clinical photographs and measurement from computed tomography(CT). There being no standard tool in assessment of cheek ptosis, the authors compared ratio of both side(non-operation side versus operation side) in one patient with measurement of soft tissue thickness at the middle level of nasolabial fold between the groups(Figure 1).

Results

A total of 83 patients were included in this study according to inclusion and exclusion criteria(Control group : 22 male, 17 female / Endotine group : 25 male, 18 female). Statistical analyses were conducted with an independent sample t-test, and p<0.05 was considered significant. The mean age between the groups showed no significant difference. Both patients’ satisfaction and surgeon evaluation showed significant better scores in Endotine group. And CT measurement was 1.04 ± 0.03 in Endotine group, which was significantly lower then control group(1.18 ± 0.09)

Discussion & Conclusion

The authors have applied Endotine® midface in repositioning the elevated cheek flap in zygomatic fracture patients, with excellent results. The device is easy to apply and provides secure fixation without complications, and our suspension procedure can be one good option in preventing soft tissue relating complications after zygoma fracture.

1.	Kelley, P., R. Hopper, and J. Gruss, Evaluation and treatment of zygomatic fractures. Plast Reconstr Surg, 2007. 120(7 Suppl 2): p. 5S-15S.

2.	Marciani, R.D., Management of midface fractures: fifty years later. J Oral Maxillofac Surg, 1993. 51(9): p. 960-8.

3.	Yaremchuk, M.J. and W.K. Kim, Soft-tissue alterations associated with acute, extended open reduction and internal fixation or orbital fractures. J Craniofac Surg, 1992. 3(3): p. 134-40.

4.	Antonyshyn, O.M., Soft tissue deformity after craniofacial fracture repair: analysis and treatment. J Craniomaxillofac Trauma, 1999. 5(3): p. 19-29; discussion 30-1.

5.	Frodel, J.L., Jr. and R. Rudderman, Facial soft tissue resuspension following upper facial skeletal reconstruction. J Craniomaxillofac Trauma, 1996. 2(4): p. 24-30.