Osseointegrated Orbital Reconstruction: A 24-year experience

Joshua J. DeSerres BMSc MD, Curtis R. Budden MD, Johan F. Wolfaardt BDS MDent PhD, Lindsay McHutchion BSc MS, Akhila Regunathan BFA MS, Gordon H. Wilkes MD FRCSC

Purpose: Osseointegrated implants have been used for craniofacial prosthetic reconstruction since 1979.1 Since then, they have been used for prosthetic rehabilitation of a variety of facial defects. The authors sought to review long-term results of osseointegrated orbital reconstruction at the Institute for Reconstructive Sciences in Medicine (iRSM).

Methods: 26 patients have undergone osseointegrated orbital prosthetic (OOP) reconstruction at the iRSM since 1990. A retrospective chart review was performed to determine demographics, skin reactions and implant failures. 7 patients are deceased, therefore a satisfaction survey was sent to the remaining 19 patients. Patient satisfaction was assessed through a questionnaire used in previous osseointegration studies.2 Multivariate binary logistic regression analysis was performed to assess the relationship between smoking, age, gender, and prior radiation treatment with the occurrence of a skin reaction and implant failure. A Chi-square test was used to assess the relationship between implant position within the orbit and development of a skin reaction or implant failure.

Results: The most common indication for reconstruction was oncologic, followed by traumatic and congenital. Patients received an average of 5.8 implants during the course of treatment. The average follow-up time was 10.6 years with a range of 6 months to 24 years. A statistically significant correlation was found between skin reaction and age (p=0.022), with younger patients more likely to develop a reaction. When assessing implant failure, no variables in our model were significant for predicting failure of osseointegration. Overall, there were 39 failures out of 155 osseointegrated implants, for a success rate of 74.8%. There was no relationship between skin reaction or implant failure compared to implant position within the orbit. Survey responses were received from 11 of 19 patients, for a response rate of 58%. 82% of patients rated their prosthesis as comfortable and 91% reported good self-confidence with the prosthesis. 91% of patients were overall satisfied with their prosthesis, despite 55% of patients who felt that they had a skin reaction.

Conclusions: There are minimal contraindications for consideration of OOP reconstruction. Patients find the prosthesis comfortable to wear, report increased self-confidence and are happy with their choice to have undergone reconstruction. Prosthetic reconstruction using osseointegrated implants is a good option for reconstruction of the orbit.

REFERENCES

- Tjellström A. Osseointegrated implants for replacement of absent or defect ears. Clin Plast Surg. 1990;17:355-366.

- Korus LJ, Wong JN, Wilkes GH. Long-term follow-up of osseointegrated auricular reconstruction. Plast Reconstr Surg. 2011 Feb;127(2):630-636.